## Meta_Data
Parameter(s) | Description
Data_Traffic | Data traffic per digital content (GB/hour)
Electricity_Intensity | Electricity intensity of sub-systems expressed as amount of electricity per unit of time (kWh/hr) or data (kWh/GB), depending on the case. According to Billstein et al (2021): ''No standardized way of measuring the electricity intensity. Three different measurement units commonly occur in studies: energy per data, energy per time, and energy per subscriber [...] The choice of metrics should depend on the type of subsystem in question, i.e., if a device were to use the same amount of electricity regardless of the load, it should be measured based on time. If the energy consumption instead were to be proportional to the load, the device should be calculated per data volume [...] the IP core network should be modelled using the unit energy per data, whilst the access network, customer premise equipment, and end-user devices fall under the category of energy per time''
Infrastructure
Activity_Device_Match | Binary parameter with value of 1 if activity-setting pair works for the device and 0 otherwise
User_Time | Number of hours dedicated per year to each activity (hours/year)
User_Tech_Choice | % of annual hours in which each device and setting is used for each activity
Internet_Users

## Data_Traffic
activity | setting | average | lower_bound | upper_bound | units | data_source
Web surfing | Average | 0.105 | 0.06 | 0.15 | GB/hour | data_traffic_dataset!A1
Social media | Average | 0.3092 | 0.09 | 0.84
Video streaming | 480p | 0.65179 | 0.45 | 0.8
Video streaming | 720p | 1.2667 | 1 | 1.6875
Video streaming | 1080p | 2.4219 | 1.8 | 3.15
Video streaming | 4K | 7.6238 | 6 | 9.9
Music streaming | Low quality | 0.0269 | 0.0108 | 0.043
Music streaming | Standard quality | 0.0576 | 0.0432 | 0.072
Music streaming | High quality | 0.11277 | 0.072 | 0.144
Video conferencing | Audio only | 0.03555 | 0.03015 | 0.045
Video conferencing | Standard quality | 0.6 | 0.36 | 0.84
Video conferencing | High quality | 1.3838 | 1.2375 | 1.53

## Electricity_Intensity
component | sub-system | unit_category | average | lower_bound | upper_bound | 2050_average | units | data_source_and_assumptions
End user devices | Smartphone | energy per active hour | 0.0014725 | 0.0011106 | 0.0018345 | 0.0005905 | kWh | Yearly electricity consumption of a smartphone in 2020 and 2050 was extrapolated from 2016 data (average of 3.34 kWh/year ranging from 2.519 to 4.161 kWh/year) considering an annual energy usage improvement of 3% after Pärssinen et al. (2018). Yearly consumption was converted to consumption per active hour considering 5h 30min of active mode based on a survey prepared by Statista (2021a) for the U.S. in 2021
| Tablet | energy per active hour | 0.0053984 | 0.0037169 | 0.0063718 | 0.0021648 | kWh | Yearly electricity consumption of a tablet in 2020 and 2050 was extrapolated from 2013 data provided by Urban et al. (2014) (average of 6.1 kWh/year ranging from 4.2 kWh/year for a small tablet to 7.2 kWh/year for a large tablet) and considering an annual energy usage improvement of 3% after Pärssinen et al. (2018). Yearly consumption was converted to consumption per active hour considering 2h and 30min of active mode per day based on Urban et al. (2014)
| Laptop | energy per active hour | 0.024211 | 0.016948 | 0.031474 | 0.0060692 | kWh | Yearly electricity consumption of a laptop in 2020 was extrapolated from 2012 data from Van Heedeghem et al. (2014) (average of 49 kWh/year) and considering an annual energy usage improvement of 4% after Pärssinen et al. (2018). Yearly consumption was converted to consumption per active hour considering 4h of active mode per day (Urban et al., 2017). ±30% around the average value was used to define the minimum-maximum range after Pärssinen et al. (2018)
| Desktop computer | energy per active hour | 0.1096 | 0.076719 | 0.14248 | 0.04395 | kWh | Yearly electricity consumption of a desktop PC with LCD monitor in 2020 was extrapolated from 2012 data from Van Heedeghem et al. (2014) (245 kWh/year) and considering an annual energy usage improvement of 1% after Pärssinen et al. (2018). Yearly consumption was converted to consumption per active hour considering 4h 48min of active mode per day (Urban et al., 2017). ±30% around the average value was used to define the minimum-maximum range after Pärssinen et al. (2018)
| TV 720p | energy per active hour | 0.025539 | 0.015 | 0.065 | 0.006074 | kWh | Average market data for year 2022; see ei_tv_dataset. Electricity used in standby not included (negligible). Extrapolation to 2050 considering an annual energy usage improvement of 5% after Madlener et al. (2022)
| TV 1080p | energy per active hour | 0.033254 | 0.0145 | 0.085 | 0.0079087 | kWh | Average market data for year 2022; see ei_tv_dataset. Electricity used in standby not included (negligible). Extrapolation to 2050 considering an annual energy usage improvement of 5% after Madlener et al. (2022)
| TV 4K | energy per active hour | 0.080017 | 0.0475 | 0.1136 | 0.01903 | kWh | Average market data for year 2022; see ei_tv_dataset. Electricity used in standby not included (negligible). Extrapolation to 2050 considering an annual energy usage improvement of 5% after Madlener et al. (2022)
Data transmission | Customer premise equipment | energy per active hour | 0.007 | 0.004 | 0.01 | 0.0038184 | kWh | Costumer premise equipment includes modems and WiFi routers used to access the Internet at home. This equipment consumes between 4 and 10 Wh (Coroama et al., 2015). An average value of 7 Wh was assumed as default for the year 2020. Extrapolation to 2050 considering an annual energy usage improvement of 2% after Madlener et al. (2022)
| Access network | energy per active hour | 0.0028 | 0.00224 | 0.00336 | 0.0015274 | kWh | The access network refers to the equipment connecting users to Internet Service Provider (ISP). This equipment consumes about 2.8 Wh (Coroama et al., 2015). ±20% around the average value was used to define the lower and upper bounds. Extrapolation to 2050 considering an annual energy usage improvement of 2% after Madlener et al. (2022)
| Core network | energy per data | 0.017717 | 0.012756 | 0.020374 | 0.0096643 | kWh/GB | The Internet core network includes mainly routers and fiber optic equipment (including undersea cables). According to Schien and Priest (2014), the core network consumed 0.02 kWh/GB in 2014; 25th and 75th percentiles from a Monte Carlo simulation were used to define the lower and upper bounds. In order to extrapolate these values to 2020 and 2050, we assumed an annual energy usage improvement of 2% after Madlener et al. (2022). This improvement can be considered as a conservative assumption as previous works used values as high as 12.5% (Schien et al., 2014) or 20% (Andrae, 2020)
Data center | Data center | energy per data | 0.041392 | 0.031044 | 0.051741 | 0.022579 | kWh/GB | Massanet et al. (2020) estimated the electricity consumption of global data centers in 2020 equal to 196.2 TWh. The electricity intensity was calculated by dividing global electricity consumption by the outbound data traffic. According to projections developed by Cisco (2018), only 28% of all data centers data traffic in 2020 (17.1 ZB) goes to other data centers and users, while 72% is data traffic within the data centers. This gives a reference value of 4.74 ZB outbound traffic in 2020. The lower and upper bounds equal ±25% around the average value, based on the 95% confidence interval obtained by Koot and Wijnhoven (2021). Extrapolation to 2050 considering an annual energy usage improvement of 2% after Madlener et al. (2022)

## Infrastructure
End-user devices and transmission network equipment
component | sub-system | lifetime (years) | active mode (hours/day) |  |  | active mode lifetime (total hours) |  |  | unit infrastructure per active hour over lifetime (note that lower_bound corresponds to the upper bound for active mode) |  |  | data_source_and_assumptions
|  |  | average | lower_bound | upper_bound | average | lower_bound | upper_bound | average | lower_bound | upper_bound
End user devices | Smartphone | 3 | 5h 30min | 3h 30min | 7h | 6024 | 3834 | 8214 | 0.000166 | 0.00012174 | 0.00026082 | Operating lifetime from Clément et al. (2020). Active hours per day is based on a survey prepared by Statista (2021a) for the U.S. in 2021.
| Tablet | 3 | 2h 30min | 1h 30min | 3h 30min | 2739 | 1644 | 3834 | 0.0003651 | 0.00026082 | 0.00060827 | Operating lifetime from Clément et al. (2020) and active hours per day from Urban et al. (2014) assuming ±1 hour for the lower and upper bound
| Laptop | 4 | 4h | 3h 24min | 4h 36min | 5840 | 4964 | 6716 | 0.00017123 | 0.0001489 | 0.00020145 | Operating lifetime from Malmodin and Lundén (2018). Active hours per day from Urban et al. (2017) equivalent to 4 h ±36 min
| Desktop computer | 5 | 4h 48min | 4h 6min | 4h 30min | 8760 | 7485 | 10040 | 0.00011416 | 9.9602e-05 | 0.0001336 | Operating lifetime from Malmodin and Lundén (2018). Active hours per day from Urban et al. (2017) equivalent to 4h 48min ±42 min
| TV 720p | 10 | 2h 46min | 2h | 3h | 10100 | 7300 | 10950 | 9.901e-05 | 9.1324e-05 | 0.00013699 | Operating lifetime consistent with the Ecoinvent v3.8 database (Warnet et al., 2016). According to Statista (2022c), the daily time spent watching TV in 2020 reached 166 minutes (2h 46 min). We used this value to define the average active mode per day, even though it is unclear if this number includes the time when televisions are used for video streaming (e.g., Netflix). Furthermore, we considered 2 and 3 hours to define the lower and upper bounds
| TV 1080p | 10 | 2h 46min | 2h | 3h | 10100 | 7300 | 10950 | 9.901e-05 | 9.1324e-05 | 0.00013699
| TV 4K | 10 | 2h 46min | 2h | 3h | 10100 | 7300 | 10950 | 9.901e-05 | 9.1324e-05 | 0.00013699
Data transmission | Customer premise equipment | 5 | 24 | NA | NA | 43800 | NA | NA | 2.2831e-05 | NA | NA | Operating lifetime from Ruiz et al. (2022). The costumer premise equipment is normally always on and ready to use since people in general do not turn off the modem/routers (Urban et al., 2017). Therefore, we considered 24 hours per day of active mode
| Access network | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | No infrastructure considered
| Core network | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | No infrastructure considered
Data center IT equipment
component |  | global stock in data centers (2020) | lifetime (years) |  |  | unit infrastructure per GB traffic over lifetime (note that lower_bound corresponds to the upper bound for lifetime) |  |  | units | data_source_and_assumptions
|  |  | average | lower_bound | upper_bound | average | lower_bound | upper_bound
Servers |  | 47556816 | 5.5 | 3 | 10 | 1.8242e-06 | 1.0033e-06 | 3.3444e-06 | unit/gigabyte | Massanet et al. (2020) estimated a stock of 47.56 million servers installed in global data centers in 2020. The units of a server allocated to the transmission of 1 GB of data over the server's lifetime was calculated considering the server lifetime (Fuchs et al., 2017) and the global data centers outbound traffic in 2020 (4.74 ZB ; see 'Electricity_Intensity').
Storage |  | 178700000 | 5.5 | 3 | 10 | 6.8546e-06 | 3.77e-06 | 1.2567e-05 | unit/gigabyte | Massanet et al. (2020) estimated a storage capacity of 1787 EB installed in global data centers in 2020. This capacity is distributed between solid state drives (31%) and hard disk drives (69%). However, since an inventory for solid state drive is not available in the Ecoinvent database, we considered 100% hard disk drives. The average storage capacity of hard disk drives in 2020 is 10 TB/drive (Massanet et al., 2020). The units of a storage drive allocated to the transmission of 1 GB of data over the drive's lifetime was calculated considering the drive lifetime and the global data centers outbound traffic in 2020 (4.74 ZB ; see 'Electricity_Intensity'). The same lifetime as for servers was assumed due to the lack of data
Rack |  | 1132305.1429 | 5.5 | 3 | 10 | 5.4292e-06 | 2.986e-06 | 9.9535e-06 | kg/gigabyte | To calculate the global stock of racks in data centers, we assumed 1U servers and 42U, meaning that each rack can hold 42 servers (RackSolutions, 2020). The same lifetime as for servers was assumed due to the lack of data. An average weight equal to 125 kg was assumed for a 42U rack (https://www.42u.com/apc-42u-rack.htm)
Unit of infrastructure in function of lifetime extension rate
| 25%_lifetime | 50%_lifetime | 100%_lifetime
End-user devices | 1.25 | 1.5 | 2
Smartphone | 0.0001328 | 0.00011067 | 8.3001e-05
Tablet | 0.00029208 | 0.0002434 | 0.00018255
Laptop | 0.00013699 | 0.00011416 | 8.5616e-05
Desktop PC | 9.1324e-05 | 7.6104e-05 | 5.7078e-05
TV 720p | 7.9208e-05 | 6.6007e-05 | 4.9505e-05
TV 1080p | 7.9208e-05 | 6.6007e-05 | 4.9505e-05
TV 4K | 7.9208e-05 | 6.6007e-05 | 4.9505e-05
Internet access
Customer premise equipment | 1.8265e-05 | 1.5221e-05 | 1.1416e-05
Data centers
Servers | 1.4594e-06 | 1.2161e-06 | 9.121e-07
Storage | 5.4837e-06 | 4.5697e-06 | 3.4273e-06
Rack | 3.4747e-08 | 2.8956e-08 | 2.1717e-08

## Regional
region | ecoinvent_location | energy_use_2020 (TWh) | energy_use_2020 (%) | energy_use_data (kWh/GB) |  |  | direct_water_use (kg/GB) | wastewater (kg/GB) | core_network_node_energy_use (kWh/GB) |  |  | data_source_and_assumptions
|  |  |  | average | lower_bound | upper_bound |  |  | average | lower_bound | upper_bound
North America | RNA | 76.1883 | 38.83% | 0.016072 | 0.012054 | 0.02009 | 0.028842 | 0.00040675 | 0.0034395 | 0.0024764 | 0.0039554 | Regional energy use by global data centers from Massanet et al. (2020). Direct water use was calculated assuming 0.0018 m3 water per kWh consumed by data centers based on data for the US in 2018 (Bakar Siddik et al., 2021). According to the same source, the volume of wastewater produced by data centers represent 1.4% of the volume of direct water consumption
Asia Pacific | RAS | 67.1416 | 34.22% | 0.014163 | 0.010622 | 0.017704 | 0.025417 | 0.00035845 | 0.0030311 | 0.0021824 | 0.0034857
Europe | RER | 42.9347 | 21.88% | 0.0090569 | 0.0067927 | 0.011321 | 0.016253 | 0.00022922 | 0.0019383 | 0.0013956 | 0.002229
Central and Eastern Europe |  | 5.7326
Western Europe |  | 37.2021
Latin America | RLA | 5.2491 | 2.675% | 0.0011073 | 0.00083046 | 0.0013841 | 0.0019871 | 2.8024e-05 | 0.00023697 | 0.00017062 | 0.00027252
Middle East and Africa | 50% RME / 50% RAF | 4.7092 | 2.4% | 0.00099338 | 0.00074504 | 0.0012417 | 0.0017827 | 2.5141e-05 | 0.00021259 | 0.00015307 | 0.00024448
[7 empty] | 0.058029 | 0.00081836

## Activity_Time
activity | hours_per_day | hours_per_year | data_source_and_assumptions
Web surfing | 2 | 730 | 2 hours per day of web surfing were assumed. This value is equal to the daily time spend on reading press media by an average user in 2022
Social media | 2.27 | 894 | Based on BroadbandSearch (2022) and Hootsuite (2022) for the reference year 2022. It should be noted that the average daily time spent on social media varies around the world, from 1h 15 min in Europe to 3h 24 min in South America (BroadbandSearch, 2022)
Video streaming | 2.17 | 833 | According to the most recent statistics for year 2021, an average person spends 16 hours per week (2h 17 min per day on average) on video streaming (Duoplus, 2021). This value is similar to that reported by Statista (2022a) for the U.S., i.e. 18.9 hours per week
Music streaming | 1.33 | 566 | Based on Hootsuite (2022) for the reference year 2022
Video conferencing | 0.34286 | 207 | A recent survey performed by Dialpad (2022) revelead that about 46% of the respondents spend less than 4 hours per week in video conferencing, while 37% spend between 4 and 12 hours per week. 4 hours per week (an average of 34 min per day) was assumed in this work as representative for an average person

## User_Activity_Device_Time
| Low_Tech | [6 empty] | Medium_Tech | [6 empty] | High_Tech
| Low_Tech user was assumed to have limited access to technology; only a smartphone and a laptop. Smartphone is used 100% of the time spent on web surfing, social media, and music streaming (low quality). Smartphone and laptop are both used 50% of the time spent on video streaming (low quality; 480p), while only laptop is used for video conferencing (only audio) | [6 empty] | Web surfing was distributed between smartphone (50% of time), tablet (15%), laptop (25%), and desktop PC (10%) based on Statista data on device preference for internet browsing (Statista, 2022b). Social media was assumed to be accessed mostly through smartphones (83% of time) with the remaining 17% equally distributed betwen tablet, laptop, and desktop PC (Broadband Search, 2022). Video streaming was distributed between smartphone (31% of time), computer (28% divided into 50% laptop and 50% desktop PC), 25% smart TV, and 16% tablet based on Statista data for devices preference to watch online videos (Statista, 2019). The resolution of video streaming was distributed between 720p (50% of time) and 1080p (50%). Music streaming (standard quality) was distributed between smartphone (59%) and tablet/laptop/desktop PC (41%; equal share) based on data from Statista (2021b). Video conferencing (standard quality) was equally distributed between laptop and desktop PC | [6 empty] | Same assumption as for Medium_Tech. However, High_Tech was assumed to to use higher resolution for video streaming (100% 4K for smart TV and 100% 1080p for the other devices) and high quality for music streaming and video conferencing
activity | smartphone | tablet | laptop | desktop PC | TV 720p | TV 1080p | TV 4K | smartphone | tablet | laptop | desktop PC | TV 720p | TV 1080p | TV 4K | smartphone | tablet | laptop | desktop PC | TV 720p | TV 1080p | TV 4K
web surfing, average | 730 | [6 empty] | 365 | 109.5 | 182.5 | 73 |  |  |  | 365 | 109.5 | 182.5 | 73
social media, average | 894 | [6 empty] | 742.02 | 50.66 | 50.66 | 50.66 |  |  |  | 742.02 | 50.66 | 50.66 | 50.66
video streaming, 480p | 416.5 |  | 416.5
video streaming, 720p | [7 empty] | 129.115 | 66.64 | 58.31 | 58.31 | 104.125
video streaming, 1080p | [7 empty] | 129.115 | 66.64 | 58.31 | 58.31 |  | 104.125 |  | 258.23 | 133.28 | 116.62 | 116.62
video streaming, 4K | [20 empty] | 208.25
music streaming, low quality | 566
music streaming, standard quality | [7 empty] | 333.94 | 77.3533 | 77.3533 | 77.3533
music streaming, high quality | [14 empty] | 333.94 | 77.3533 | 77.3533 | 77.3533
video conferencing, audio only |  |  | 207
video conferencing, video standard quality | [9 empty] | 103.5 | 103.5
video conferencing, video high quality | [16 empty] | 103.5 | 103.5

## data_traffic_dataset
Activity | Setting | Platform | Bitrates | Units | Data source | Assumptions
Social media | Average | Facebook | 0.09 | GB/hour | [1] | Average user: browsing through news and viewing photos; moderate activity: viewing videos (depends on the quality)
Social media | Average | Facebook | 0.156 | GB/hour | [1] | Average user: browsing through news and viewing photos; moderate activity: viewing videos (depends on the quality)
Social media | Average | Instagram | 0.1 | GB/hour | [1] | Browsing Instagram feed for an hour on smartphone
Social media | Average | Tik Tok | 0.84 | GB/hour | [2] | Default settings
Social media | Average | Twitter | 0.36 | GB/hour | [3] | 1 hour continuous scrolling session
Video streaming | 360p | YouTube | 0.315 | GB/hour | [4] | Low quality: 360p; Standard quality: 480p; standard high quality: 720p; high quality: 1080p. Using average data. Going from kbps to Mbps, then to MB (1 byte = 8 bits)
Video streaming | 360p | Netflix | 0.3 | GB/hour | [5] | Average for Europe is 1.62 GB/h (https://ispspeedindex.netflix.net/global/)
Video streaming | 360p | Vimeo | 0.225 | GB/hour | [6] | Low quality: 360p; Standard quality: 540p; standard high quality: 720p; high quality: 1080p. Using maximum video bitrate (only this information is available)
Video streaming | 480p | YouTube | 0.5625 | GB/hour | [4] | Low quality: 360p; Standard quality: 480p; standard high quality: 720p; high quality: 1080p. Using average data. Going from kbps to Mbps, then to MB (1 byte = 8 bits)
Video streaming | 480p | Netflix | 0.7 | GB/hour | [5] | Average for Europe is 1.62 GB/h (https://ispspeedindex.netflix.net/global/)
Video streaming | 480p | Amazon Prime | 0.8 | GB/hour | [7]
Video streaming | 480p | Disney+ | 0.7 | GB/hour | [8] | Three qualities: standard (save data), moderate, and 4k
Video streaming | 480p | Hulu | 0.675 | GB/hour | [9]
Video streaming | 480p | Vimeo | 0.675 | GB/hour | [6] | Low quality: 360p; Standard quality: 540p; standard high quality: 720p; high quality: 1080p. Using maximum video bitrate (only this information is available)
Video streaming | 480p | Average | 0.45 | GB/hour | [21] | Average value used in a case study
Video streaming | 720p | YouTube | 1.2375 | GB/hour | [4] | Low quality: 360p; Standard quality: 480p; standard high quality: 720p; high quality: 1080p. Using average data. Going from kbps to Mbps, then to MB (1 byte = 8 bits)
Video streaming | 720p | Netflix | 1 | GB/hour | [5] | Average for Europe is 1.62 GB/h (https://ispspeedindex.netflix.net/global/)
Video streaming | 720p | Hulu | 1.35 | GB/hour | [9]
Video streaming | 720p | Vimeo | 1.125 | GB/hour | [6] | Low quality: 360p; Standard quality: 540p; standard high quality: 720p; high quality: 1080p. Using maximum video bitrate (only this information is available)
Video streaming | 720p | Twitch | 1.6875 | GB/hour | [10]
Video streaming | 720p | Average | 1.2 | GB/hour | [21] | Average value used in a case study
Video streaming | 1080p | YouTube | 2.025 | GB/hour | [4] | Low quality: 360p; Standard quality: 480p; standard high quality: 720p; high quality: 1080p. Using average data. Going from kbps to Mbps, then to MB (1 byte = 8 bits)
Video streaming | 1080p | Netflix | 3 | GB/hour | [5] | Average for Europe is 1.62 GB/h (https://ispspeedindex.netflix.net/global/)
Video streaming | 1080p | Amazon Prime | 2 | GB/hour | [7]
Video streaming | 1080p | Disney+ | 2 | GB/hour | [8] | Three qualities: standard (save data), moderate, and 4k
Video streaming | 1080p | Hulu | 2.7 | GB/hour | [9]
Video streaming | 1080p | Vimeo | 3.15 | GB/hour | [6] | Low quality: 360p; Standard quality: 540p; standard high quality: 720p; high quality: 1080p. Using maximum video bitrate (only this information is available)
Video streaming | 1080p | Twitch | 2.7 | GB/hour | [10]
Video streaming | 1080p | Average | 1.8 | GB/hour | [21] | Average value used in a case study
Video streaming | 4K | YouTube | 7.9425 | GB/hour | [4] | Low quality: 360p; Standard quality: 480p; standard high quality: 720p; high quality: 1080p. Using average data. Going from kbps to Mbps, then to MB (1 byte = 8 bits)
Video streaming | 4K | Netflix | 7 | GB/hour | [5] | Average for Europe is 1.62 GB/h (https://ispspeedindex.netflix.net/global/)
Video streaming | 4K | Amazon Prime | 6 | GB/hour | [7]
Video streaming | 4K | Disney+ | 7.7 | GB/hour | [8] | Three qualities: standard (save data), moderate, and 4k
Video streaming | 4K | Hulu | 7.2 | GB/hour | [9]
Video streaming | 4K | Vimeo | 9.9 | GB/hour | [6] | Low quality: 360p; Standard quality: 540p; standard high quality: 720p; high quality: 1080p. Using maximum video bitrate (only this information is available)
Music streaming | Low quality | Spotify | 0.0108 | GB/hour | [11] | Based on Spotify Premium
Music streaming | Low quality | YouTube Music | 0.043 | GB/hour | [12] | Hiqh Quality streaming format is encoded in 256kbps AAC. (equivalent to an mp3 encoded in 320kbps).
Music streaming | Standard quality | Spotify | 0.0432 | GB/hour | [11] | Based on Spotify Premium
Music streaming | Standard quality | YouTube Music | 0.072 | GB/hour | [12] | Hiqh Quality streaming format is encoded in 256kbps AAC. (equivalent to an mp3 encoded in 320kbps).
Music streaming | High quality | Spotify | 0.072 | GB/hour | [11] | Based on Spotify Premium
Music streaming | High quality | YouTube Music | 0.115 | GB/hour | [12] | Hiqh Quality streaming format is encoded in 256kbps AAC. (equivalent to an mp3 encoded in 320kbps).
Music streaming | High quality | Spotify | 0.144 | GB/hour | [11] | Very high quality; based on Spotify Premium
Music streaming | High quality | Sound Cloud | 0.1152 | GB/hour | [13] | Very high quality
Music streaming | High quality | Apple Music | 0.1152 | GB/hour | [14] | Very high quality; not exactly like-for-like with Spotify because Apple Music uses its own AAC audio codec
Music streaming | High quality | Amazon Music | 0.1152 | GB/hour | [15] | Very high quality
Video conferencing | Audio only | Zoom | 0.0315 | GB/hour | [16] | Average between 1:1 and group calling
Video conferencing | Audio only | Microsoft Teams | 0.03015 | GB/hour | [17] | Average between 1:1 and group calling
Video conferencing | Audio only | Skype | 0.045 | GB/hour | [18]
Video conferencing | Standard quality | Zoom | 0.36 | GB/hour | [16] | Average between 1:1 and group calling
Video conferencing | Standard quality | Zoom | 0.84 | GB/hour | [16] | Standard high quality; average between 1:1 and group calling
Video conferencing | High quality | Zoom | 1.53 | GB/hour | [16] | Average between 1:1 and group calling
Video conferencing | High quality | Microsoft Teams | 1.2375 | GB/hour | [17] | Average between 1:1 and group calling
Web surfing | Average | NA | 0.06 | GB/hour | [19] [22]
Web surfing | Average | NA | 0.15 | GB/hour | [22]
Online gaming | Average | Average game | 0.09 | GB/hour | [20]
Online gaming | Average | Small game | 0.04 | GB/hour | [20]
Online gaming | Average | Big game | 0.14 | GB/hour | [20]
Sources:
[1] | https://www.wirefly.com/guides/how-much-data-does-facebook-app-use
[2] | https://whatsabyte.com/internet/data-tik-tok-use-per-hour/#:~:text=Under%20default%20settings%2C%20Tik%20Tok,to%20360MB%20in%20an%20hour.
[3] | https://www.canstarblue.com.au/apps/twitter-data-usage/
[4] | https://support.google.com/youtube/answer/2853702?hl=en#zippy=
[5] | https://help.netflix.com/en/node/87
[6] | https://vimeo.zendesk.com/hc/en-us/articles/224820827-Determining-playback-resolution#h_01FZGYMJZM6QW6MC6PA03T9XMQ
[7] | https://www.makeuseof.com/tag/how-much-data-does-streaming-video-use/
[8] | https://help.disneyplus.com/csp?id=csp_article_content&sys_kb_id=70013447db3fb018db5ed404ca961906
[9] | https://help.hulu.com/s/article/video-quality
[10] | https://help.twitch.tv/s/article/guide-to-broadcast-health-and-using-twitch-inspector?language=en_US#:~:text=Twitch%20specifies%20a%20maximum%20bitrate,cannot%20handle%20higher%20bitrate%20video.
[11] | https://support.spotify.com/us/article/audio-quality/
[12] | https://smarthomestarter.com/how-much-data-does-youtube-music-really-use/
[13] | https://help.soundcloud.com/hc/en-us/articles/360051838074-High-Quality-streaming#:~:text=What%20is%20the%20quality%20of,an%20mp3%20encoded%20in%20320kbps).
[14] | https://www.gearpatrol.com/tech/audio/a615544/increase-music-sound-quality-apple-music-spotify/#:~:text=Apple%20Music%20streams%20at%20a,is%20connected%20to%20Wi%2DFi.
[15] | https://apps.voxmedia.com/graphics/theverge-music-streaming-comparison-table/
[16] | https://support.zoom.us/hc/en-us/articles/201362023-System-requirements-for-Windows-macOS-and-Linux
[17] | https://docs.microsoft.com/en-us/microsoftteams/prepare-network#:~:text=Teams%20is%20always%20conservative%20on,and%20video%20frames%20per%20second.
[18] | https://support.skype.com/en/faq/FA1417/how-much-bandwidth-does-skype-need
[19] | https://www.amaysim.com.au/blog/stuff-made-simple/internet-data-usage-guide
[20] | https://fossbytes.com/internet-data-used-online-gaming/
[21] | Suski et al. (2020). All you can stream: Investigating the role of user behavior for greenhouse gas intensity of video streaming. 7th International Conference on ICT for Sustainability (ICT4S). https://doi.org/10.48550/arXiv.2006.11129
[22] | https://schools.saisd.net/upload/page/11211/docs/Data%20Usage.pdf

## ei_devices_dataset
device | source | year | kWh_per_year | active_hours_per_day | kWh_per_active_hour | assumptions
Smartphone | Urban et al. (2014) | 2013 | 4.5 | 5h 30min | 0.002241 | Yearly consumption of an average smartphone in the U.S. in 2013. 5h 30min of active mode per day was assumed based on a survey prepared by Statista (2021a) for the U.S. in 2021.
| Pärssinen et al. (2018) - average | 2016 | 3.34 |  | 0.0016633 | Smartphones consume between 2.519 and 4.161 kWh/year (an average of 3.34 kWh/year)
| Pärssinen et al. (2018) - min | 2016 | 2.519 |  | 0.0012545
| Pärssinen et al. (2018) - max | 2016 | 4.161 |  | 0.0020722
| Suski et al. (2020) | NA | NA |  | 0.006
| Energy Use Calculator (2022) - min | NA | NA |  | 0.002
| Energy Use Calculator (2022) - max | NA | NA |  | 0.006
| This work - average | 2020 | 2.9569 |  | 0.0014725 | Calculated assuming 2016 values and an energy usage improvement of 3% per year based on Pärssinen et al. (2018)
| This work - min | 2020 | 2.2301 |  | 0.0011106
| This work - max | 2020 | 3.6837 |  | 0.0018345
| This work - 2050 average | 2050 | 1.1857 |  | 0.0005905
Tablet | Urban et al. (2014) - average tablet | 2013 | 6.1 | 2h 30min | 0.0066813 | Yearly consumption of an average, small, and large tablet in the U.S. in 2013. 2h 30min of active mode per day was assumed based on Urban et al. (2014)
| Urban et al. (2014) - small tablet | 2013 | 4.2 |  | 0.0046002
| Urban et al. (2014) - large tablet | 2013 | 7.2 |  | 0.0078861
| Pärssinen et al. (2018) | 2016 | 12.9 |  | 0.014129 | iPad Air 2 tablet
| Suski et al. (2020) | NA | NA |  | 0.007
| This work - average | 2020 | 4.9287 |  | 0.0053984 | Calculated assuming 2013 values from Urban et al. (2014) and an energy usage improvement of 3% per year based on Pärssinen et al. (2018)
| This work - min | 2020 | 3.3935 |  | 0.0037169
| This work - max | 2020 | 5.8175 |  | 0.0063718
| This work - 2050 average | 2050 | 1.9764 |  | 0.0021648
Laptop | Van Heddenghem et al. (2014) | 2007 | 58 | 4h | 0.039726 | Average of household and office laptops. 4h of active mode per day were assumed after Urban et al. (2017)
| Van Heddenghem et al. (2014) | 2012 | 49 |  | 0.033562
| Pärssinen et al. (2018) | 2016 | 41.8 |  | 0.02863 | Extrapolation from Van Heddenghem et al. (2014) assuming 4% annual decrease in electricity consumption
| Urban et al. (2017) | 2017 | 42 |  | 0.028767 | Yearly consumption of an average laptop in the U.S. in 2017
| Energy Use Calculator (2022) - min | NA | NA |  | 0.02
| Energy Use Calculator (2022) - max | NA | NA |  | 0.1
| Suski et al. (2020) | NA | NA |  | 0.032
| This work - average | 2020 | 35.3481 |  | 0.024211 | Calculated assuming 2012 value from Van Heddenghem et al. (2014) and an energy usage improvement of 4% per year based on Pärssinen et al. (2018)
| This work - 2050 average | 2050 | 8.861 |  | 0.0060692
Desktop computer + monitor | Van Heddenghem et al. (2014) | 2007 | 260 | 4h 48min | 0.1484 | Average of household and office dekstop computer equipped with LCD monitors. 4h 48 min of active mode per day were assumed after Urban et al. (2017)
| Van Heddenghem et al. (2014) | 2012 | 245 |  | 0.13984
| Urban et al. (2017) | 2017 | 326 |  | 0.18607 | Yearly consumption of an average desktop computer with monitor in the U.S. in 2017
| Pärssinen et al. (2018) | 2016 | 233 |  | 0.13299 | Extrapolation from Van Heddenghem et al. (2014) assuming 4% annual decrease in electricity consumption
| Energy Use Calculator (2022) | NA | NA |  | 0.13 | Average desktop computer with monitor
| Energy Use Calculator (2022) | NA | NA |  | 0.09
| Energy Use Calculator (2022) | NA | NA |  | 0.33
| This work - average | 2020 | 192.0171 |  | 0.1096 | Calculated assuming 2012 value from Van Heddenghem et al. (2014) and an energy usage improvement of 3% per year based on Pärssinen et al. (2018)
| This work - 2050 average | 2050 | 77.0002 |  | 0.04395

## ei_tv_dataset
TV Wattage – 2022’S Most Efficient TVs Revealed [With Data]
https://ecocostsavings.com/tv-wattage/#:~:text=Modern%20TVs%20use%2C%20on%20average,to%20run%20in%20the%20US.
Wattage (On mode)
TV model | Size (inches) | Technology type | Resolution | Energy Star certified? | Annual consumption | Wattage (On mode) | Standby wattage | Resolution | Average | Min | Max
VIZIO – E75-F1 | 75 | Direct-lit LED | 2160p | Yes | 165.7 kWh | 87.32 | 0.5 | 720p | 25.5395 | 15 | 65
VIZIO – D24hn-G9 | 24 | Edge-lit LED | 720p | Yes | 35.6 kWh | 17.62 | 0.5W | 1080p | 33.2538 | 14.5 | 85
MI – L32M5-5ARU | 32 | Direct-lit LED | 720p | Yes | 29 kWh | 19.32 | 0.5W | 2160p | 80.0172 | 47.5 | 113.6
SCEPTRE – E32 | 32 | Direct-lit LED | 1080p | Yes | 42.3 kWh | 22.2 | 0.5W
PHILIPS – 75BFL2114/27 | 75 | Direct-lit LED | 2160p | Yes | 212 kWh | 113.6 | 0.5W
Sansui – LE-24P28 | 24 | Direct-lit LED | 720p | Yes | 34.5 kWh | 19 | 3W
SCEPTRE – H50 | 50 | Direct-lit LED | 1080p | Yes | 88.8 kWh | 47.87 | 0.5W
NEC – E657Q | 65 | Direct-lit LED | 2160p | Yes | 141.1 kWh | 72.02 | 0.5W
Sansui – LE-5018N | 50 | Direct-lit LED | 2160p | Yes | 103.7 kWh | 55.96 | 0.5W
NEC – E658 | 65 | Other | 2160p | Yes | 153.5 kWh | 82.3 | 0.5W
NEC – E328 | 32 | Other | 1080p | Yes | 43 kWh | 22.28 | 0.5W
Sansui – ES75E1UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
SCEPTRE – E32 | 32 | Direct-lit LED | 1080p | Yes | 125 kWh | 24.26 | 0.5W
Sansui – S24P28N | 24 | Direct-lit LED | Other | Yes | 40 kWh | 20 | 0.5W
FURRION – FDUS50M7A | 50 | Direct-lit LED | 2160p | Yes | 127.6 kWh | 68 | 0.5W
Supersonic – SC-2411 | 24 | Edge-lit LED | 720p | Yes | 38.1 kWh | 20.04 | 0.5W
VIZIO – E65-F0 | 65 | Direct-lit LED | 2160p | Yes | 186 kWh | 97 | 0.5W
Caixun – EC43S1N | 43 | Direct-lit LED | 1080p | Yes | 66 kWh | 34 | 0.5W
SCEPTRE – E18 | 17 | Edge-lit LED | Other | Yes | 19.6 kWh | 9.96 | 0.5W
Caixun – LE-58N3 | 58 | Direct-lit LED | Other | Yes | 156.2 kWh | 90 | 3W
Sansui – S43P28FN | 43 | Direct-lit LED | 1080p | Yes | 66 kWh | 34 | 0.5W
Sansui – S24P28 | 24 | Edge-lit LED | 720p | Yes | 38.1 kWh | 20.04 | 0.5W
Sansui – SF4019N18 | 40 | Direct-lit LED | 1080p | Yes | 58.8 kWh | 31.14 | 0.5W
NEC – E507Q | 50 | Direct-lit LED | 2160p | Yes | 138.1 kWh | 71.05 | 0.5W
PHILIPS – 50BFL2114/27 | 50 | Direct-lit LED | 2160p | Yes | 138 kWh | 72.7 | 0.5W
SCEPTRE – D32 | 32 | Edge-lit LED | 720p | Yes | 48.2 kWh | 25.45 | 0.5W
Sansui – LE-75E1 | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
IMPECCA – TL2400H | 24 | Edge-lit LED | 720p | Yes | 38.1 kWh | 20.04 | 0.5W
RCA, PROSCAN, SYLVANIA – RTA3201 | 32 | Edge-lit LED | 720p | Yes | 48.3 kWh | 25.5 | 0.5W
MI – L55M5-5ARU | 55 | Direct-lit LED | 720p | Yes | 92 kWh | 62.9 | 0.5W
PHILIPS – 50HFL6114U/27 | 50 | Direct-lit LED | 2160p | Yes | 139 kWh | 73.11 | 0.5W
SCEPTRE – H43 | 43 | Direct-lit LED | 1080p | Yes | 64.6 kWh | 34.2 | 0.5W
RCA – RLED1945A-E | 19 | Direct-lit LED | 720p | Yes | 33 kWh | 16.9 | 0.5W
PHILIPS – 65BFL2114/27 | 65 | Direct-lit LED | 2160p | Yes | 195 kWh | 98.3 | 0.5W
Caixun – EC50S1UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Sansui – LE-50F2 | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Sansui – S32P28N | 32 | Direct-lit LED | Other | Yes | 51 kWh | 26 | 0.5W
RCA, PROSCAN, SYLVANIA – RTA4302 | 43 | Edge-lit LED | 1080p | Yes | 64.6 kWh | 34.29 | 0.5W
Caixun – LE-24N3 | 24 | Edge-lit LED | 720p | Yes | 38.1 kWh | 20.04 | 0.5W
PHILIPS – 65BFL2114/27 | 65 | Direct-lit LED | 2160p | Yes | 185 kWh | 98.3 | 0.5W
PHILIPS – 70BFL2114/27 | 70 | Direct-lit LED | 2160p | Yes | 205 kWh | 109.1 | 0.5W
SCEPTRE – X435BV-FSRD | 43 | Direct-lit LED | 1080p | Yes | 67.3 kWh | 35 | 0.5W
Sansui – S75P28UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
NEC – E558 | 55 | Other | 2160p | Yes | 118 kWh | 63.1 | 0.5W
Caixun – EC32S2N | 32 | Direct-lit LED | Other | Yes | 51 kWh | 26 | 0.5W
Sansui – LE-75N3 | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
Sansui – LE-2419D | 24 | Other | 720p | Yes | 38.9 kWh | 20.35 | 0.5W
Caixun – EC50F3UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
PHILIPS – 65HFL6114U/27 | 65 | Direct-lit LED | 2160p | Yes | 189 kWh | 100.2 | 0.5W
Caixun – LE-65N3 | 65 | Direct-lit LED | Other | Yes | 101 kWh | 101 | 3W
Caixun – EC50P28UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Sansui – ES75P28UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
XITRIX – XPN-DS5530 | 55 | Direct-lit LED | 2160p | Yes | 149.5 kWh | 80 | 0.5W
IMPECCA – TL4000F | 40 | Direct-lit LED | 1080p | Yes | 58.8 kWh | 31.14 | 0.5W
Caixun – EC75P28UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
SCEPTRE – E19 | 19 | Direct-lit LED | 720p | Yes | 34.9 kWh | 17.23 | 0.5W
RCA;PROSCAN;Sylvania – 55F9 | 55 | Direct-lit LED | 2160p | Yes | 149.7 kWh | 80.9 | 3W
Caixun – EC50S2UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Caixun – EC75N3UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
SCEPTRE – E32 | 32 | Direct-lit LED | 1080p | Yes | 51.6 kWh | 26 | 0.5W
FURRION – FDHS32M4A | 32 | Direct-lit LED | Other | Yes | 51.8 kWh | 26.5 | 0.5W
SCEPTRE – H43 | 43 | Direct-lit LED | 1080p | Yes | 70.7 kWh | 37.72 | 0.5W
Sansui – ES75N3UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
XITRIX – XPN-DS3230 | 32 | Direct-lit LED | 720p | Yes | 52.7 kWh | 27 | 0.5W
Clear Tunes – CT-1514S | 16 | Direct-lit LED | 1080p | Yes | 51.8 kWh | 14.5 | 0.5W
NEC – E327 | 32 | Direct-lit LED | 1080p | Yes | 56.4 kWh | 27.8 | 0.5W
PHILIPS – 58BFL2114/27 | 58 | Direct-lit LED | 2160p | Yes | 146 kWh | 76.82 | 0.5W
Caixun – EC50N1UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Sansui – S40P28FN | 40 | Direct-lit LED | 1080p | Yes | 64 kWh | 33 | 0.5W
SCEPTRE – E24 | 24 | Direct-lit LED | 720p | Yes | 41.4 kWh | 20.77 | 0.5W
SCEPTRE – H32 | 27 | Direct-lit LED | 1080p | Yes | 51.6 kWh | 27.6 | 0.5W
SCEPTRE – A43 | 43 | Direct-lit LED | 1080p | Yes | 72.7 kWh | 38.3 | 0.5W
Sansui – LE-65N3 | 65 | Direct-lit LED | Other | Yes | 185 kWh | 101 | 3W
Caixun – EC50N3UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Caixun – EC50S1A | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
Sansui – LE-2219D | 22 | Direct-lit LED | 1080p | Yes | 38.1 kWh | 19 | 0.5W
Caixun – LE-50F2 | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
NEC – E438 | 43 | Other | 2160p | Yes | 88.6 kWh | 47.5 | 0.5W
VIZIO – D32f-F1 | 32 | Direct-lit LED | 1080p | Yes | 56.2 kWh | 27.92 | 0.5W
Caixun – EC50F2UA | 50 | Direct-lit LED | Other | Yes | 136 kWh | 74 | 3W
NEC – E498 | 49 | Other | 2160p | Yes | 123.8 kWh | 66.76 | 0.5W
SCEPTRE – H40 | 40 | Direct-lit LED | 1080p | Yes | 63.4 kWh | 33.84 | 0.5W
FURRION – FDHS32M4A | 32 | Direct-lit LED | 720p | Yes | 54.6 kWh | 28 | 0.5W
FURRION – FDFS40M4A | 40 | Direct-lit LED | 1080p | Yes | 67.3 kWh | 35 | 0.5W
PHILIPS – 43HFL6114U/27 | 43 | Direct-lit LED | 2160p | Yes | 112 kWh | 58.72 | 0.5W
NEC – E557Q | 55 | Direct-lit LED | 2160p | Yes | 156.6 kWh | 81.13 | 0.5W
SCEPTRE – X400BV-FSRCC | 40 | Direct-lit LED | 1080p | Yes | 67 kWh | 35.92 | 0.5W
Sansui – LE-58N3 | 58 | Direct-lit LED | Other | Yes | 156.2 kWh | 90 | 3W
Polaroid – 65T7U | 65 | Direct-lit LED | 2160p | Yes | 189.6 kWh | 102 | 0.5W
IMPECCA – TL3201H | 32 | Direct-lit LED | Other | Yes | 54.3 kWh | 28.62 | 3W
Sansui – LE-55F3 | 55 | Direct-lit LED | Other | Yes | 151 kWh | 82 | 3W
Caixun – EC75E1A | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
IMPECCA – TL3901H | 39 | Direct-lit LED | 720p | Yes | 63.6 kWh | 33.69 | 0.5W
NEC – E437Q | 43 | Direct-lit LED | 2160p | Yes | 116.6 kWh | 60.64 | 0.5W
Caixun – LE-43N3 | 43 | Direct-lit LED | Other | Yes | 112 kWh | 61 | 3W
Sansui – LE-43N3 | 43 | Direct-lit LED | Other | Yes | 112 kWh | 61 | 3W
Sansui – S75E1UA | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
SCEPTRE – H43 | 43 | Edge-lit LED | 1080p | Yes | 65.4 kWh | 85 | 0.5W
RCA – RT1971-AC | 19 | Direct-lit LED | 720p | Yes | 28.8 kWh | 15 | 0.5W
Caixun – LE-75N3 | 75 | Direct-lit LED | Other | Yes | 206 kWh | 117 | 3W
Caixun – LE-55F3 | 55 | Direct-lit LED | Other | Yes | 151 kWh | 82 | 3W
PROSCAN – PLED1960A-H | 19 | Direct-lit LED | 720p | Yes | 33 kWh | 16.9 | 0.5W
SCEPTRE – H40 | 40 | Direct-lit LED | 1080p | Yes | 67 kWh | 35.92 | 0.5W
PHILIPS – 55HFL6114U/27 | 55 | Direct-lit LED | 2160p | Yes | 159 kWh | 83.9 | 0.5W
SCEPTRE – E32 | 32 | Edge-lit LED | 720p | Yes | 45.5 kWh | 65 | 0.5W
FURRION – FDFS40M4A | 40 | Direct-lit LED | 1080p | Yes | 70.5 kWh | 36.7 | 0.5W

## Sources
List of data sources
Andrae (2020). New perspectives on internet electricity use in 2030. Eng. Appl. Sci. Lett. 2020, 3(2), 19-31; doi:10.30538/psrp-easl2020.0038
Bakar Siddik et al. (2021). The environmental footprint of data centers in the United States. Environ. Res. Lett. 16 064017
Billstein et al. (2021). Life Cycle Assessment of Network Traffic: A Review of Challenges and Possible Solutions. Sustainability 2021, 13, 11155.
BroadbandSearch (2022). Average Daily Time Spent on Social Media (Latest 2022 Data). Available at: https://www.broadbandsearch.net/blog/average-daily-time-on-social-media (Accessed 02/08/2022)
BroadbandSearch (2022). Mobile Vs. Desktop Internet Usage (Latest 2022 Data). Available at: https://www.broadbandsearch.net/blog/mobile-desktop-internet-usage-statistics (Accessed 04/08/2022)
Cisco (2018). Cisco Global Cloud Index: Forecast and methodology,2016–2021 white paper(Cisco,document 1513879861264127, 2018)
Clément et al. (2020). Sources of variation in life cycle assessments of smartphones and tablet computers. Environmental Impact Assessment Review 84 (2020) 106416
Coroama et al. (2013). The Direct Energy Demand of Internet Data Flows. Journal of Industrial Ecology 17 (5), 680-688
Coroama et al. (2015). The Energy Intensity of the Internet: Home and Access Networks
Dialpad (2022). The state of video conferencing 2022. Available at: https://www.dialpad.com/blog/video-conferencing-report/#time-spent-in-meetings
Duoplus (2021). Online Video Consumption Is Booming [2021 Statistics & Infographic]. Available at: https://www.duoplus.nz/online-video-consumption-is-booming-statistics-infographic/
Energy User Calculator (2022). Available at: https://energyusecalculator.com/electricity_cellphone.htm
Fuchs et al. (2017). Characteristics and energy use of volume servers in the United States. Available at: https://escholarship.org/uc/item/8bb5j7ww
Hootsuite (2022). Digital 2022: Global Overview Report. Available at: https://datareportal.com/reports/digital-2022-global-overview-report
Koot and Wijnhoven (2021). Usage impact on data center electricity needs: A system dynamic forecasting model. Applied Energy 291 (2021) 116798
Lifewire (2021). How Often Should You Replace Your Modem? Available at: https://www.lifewire.com/how-often-should-you-replace-your-modem-5185604#:~:text=Lower%2Dend%20modems%20tend%20to,due%20to%20failure%20or%20obsolescence.
Madlener et al. (2022). The electricity- and CO2-saving potentials offered by regulation of European video-streaming services. Energy Policy 161 (2022) 112716
Malmodin and Lundén (2018). The Energy and Carbon Footprint of the Global ICT and E&M Sectors 2010–2015. Sustainability 2018, 10, 3027; doi:10.3390/su10093027
Masanet et al. (2020). Recalibrating global data center energy-use estimates. Science, 367 (6481), DOI: 10.1126/science.aba3758
Obringer et al. (2021). The overlooked environmental footprint of increasing Internet use. Resources, Conservation & Recycling 167 (2021) 105389
Pärssinen et al. (2018). Environmental impact assessment of online advertising. Environmental Impact Assessment Review 73 (2018) 177–200
RackSolutions (2020). How many servers does a data center have? Available at: https://www.racksolutions.com/news/blog/how-many-servers-does-a-data-center-have/ (Accessed on 22/08/2022)
Ruiz et al. (2022). Life cycle inventory and carbon footprint assessment of wireless ICT networks for six demographic areas. Resources, Conservation & Recycling 176 (2022) 105951
Schien and Priest (2014). Approaches to Energy Intensity of the Internet. IEEE Communications Magazine 52 (11). DOI: 10.1109/MCOM.2014.6957153
Statista (2019). Devices used to watch online video worldwide as of August 2019. Available at: https://www.statista.com/statistics/784351/online-video-devices/
Statista (2021b). Global device share of music listening time 2019. Available at: https://www.statista.com/statistics/1102356/music-device-usage-worldwide/
Statista (2021a). Average time spent daily on a smartphone in the United States 2021. Available at: https://www.statista.com/statistics/1224510/time-spent-per-day-on-smartphone-us/#:~:text=According%20to%20a%20survey%20conducted,average%20on%20their%20phone%20daily.
Statista (2022a). Most popular weekly online activities for internet users in the United States as of January 2022, by time spent. Available at: https://www.statista.com/statistics/1292983/weekly-time-spent-us-users-online-activities/
Statista (2022b). Device preference for internet browsing in the United Kingdom (UK) 2018. Available at: https://www.statista.com/statistics/308449/device-preference-for-internet-browsing-in-the-uk/
Statista (2022c). Time spent with TV worldwide 2011-2021. Available at: https://www.statista.com/statistics/730428/tv-time-spent-worldwide/#:~:text=Time%20spent%20with%20TV%20worldwide%202011%2D2021&text=This%20statistic%20presents%20the%20daily,from%20170%20minutes%20in%202017.
Suski et al. (2020). All you can stream: Investigating the role of user behavior for greenhouse gas intensity of video streaming. 7th International Conference on ICT for Sustainability (ICT4S). https://doi.org/10.48550/arXiv.2006.11129
Urban et al. (2014). Energy consumption of consumer electronics in the U.S. homes in 2013. Available at: https://www.ourenergypolicy.org/wp-content/uploads/2014/06/electronics.pdf
Urban et al. (2017). Energy Consumption of Consumer Electronics in. U.S. Homes in 2017. Available at: https://cdn.cta.tech/cta/media/media/advocacy/pdfs/energy-consumption-of-consumer-electronics-in-u-s-homes-in-2017-(fraunhofer-usa,-commissioned-by-cta,-december-2017).pdf
Van Heddenghem et al. (2014). Trends in worldwide ICT electricity consumption from 2007 to 2012. Computer Communications 50 (2014) 64–76
Wernet et al. (2016). The ecoinvent database version 3 (part I): overview and methodology. Int J Life Cycle Assess. DOI 10.1007/s11367-016-1087-8

## Time_by_Device
end-user device | hours_per_year |  |  | share
| Low_Tech user | Medium_Tech user | High_Tech user | Low_Tech user | Medium_Tech user | High_Tech user
smartphone | 2606.5 | 1699.19 | 1699.19 | 80.7% | 52.61% | 52.61%
tablet | 0 | 370.7933 | 370.7933 | 0% | 11.48% | 11.48%
laptop | 623.5 | 530.6333 | 530.6333 | 19.3% | 16.43% | 16.43%
desktop PC | 0 | 421.1333 | 421.1333 | 0% | 13.04% | 13.04%
TV | 0 | 208.25 | 208.25 | 0% | 6.447% | 6.447%

## Internet_Users
region | population | internet_adoption | connected_users | unconnected_users | data_source | assumptions
CA | 38230000 | 96.5% | 36891950 | 1338050 | Digital 2022: Canada — DataReportal – Global Digital Insights | Year 2022
RLA | 658000000 | 69.96% | 460310000 | 197690000 | internet_users_data!A1 | Data for year 2020. Assumed as the sum of Central America, Caribbean, and Southern America
RER | 747000000 | 87.69% | 655020000 | 91980000 | internet_users_data!A1 | Data for year 2020. Assumed as the sum of Wester, Central, Northern, and Eastern Europe
US | 333900000 | 92% | 307188000 | 26712000 | Digital 2022: The United States of America — DataReportal – Global Digital Insights | Year 2022
JP | 125800000 | 94% | 118252000 | 7548000 | Digital 2022: Japan — DataReportal – Global Digital Insights | Year 2022
KR | 51320000 | 98% | 50293600 | 1026400 | Digital 2022: South Korea — DataReportal – Global Digital Insights | Year 2022
RAF | 1356000000 | 37.43% | 507540000 | 848460000 | internet_users_data!A1 | Data for year 2020. Assumed as the sum of Northern, Western, Middle, Western, Eastern, and Southern Africa
RME | 282000000 | 74% | 208680000 | 73320000 | internet_users_data!A1 | Data for year 2020. Assumed as Western Asia
AU | 25930000 | 91% | 23596300 | 2333700 | Digital 2022: Australia — DataReportal – Global Digital Insights | Year 2022
CN | 1450000000 | 70.9% | 1028050000 | 421950000 | Digital 2022: China — DataReportal – Global Digital Insights | Year 2022
IN | 1400000000 | 47% | 658000000 | 742000000 | Digital 2022: India — DataReportal – Global Digital Insights | Year 2022
Total | 6468180000 | 62.67% | 4053821850 | 2414358150 |  | Year 2022

## External_Costs
Country | ISO_code | electricity_price (EUR/kWh) | external_costs (EUR/kg CO2 eq) | data_source | assumptions
Belgium | BE | 0.2747 | 0.18 | Electricity prices from Eurostat: https://ec.europa.eu/eurostat/databrowser/view/nrg_pc_204/default/table?lang=en | Electricity prices for household consumers in the EU-27 in 2020 (average of bi-annual data). All taxes and levis included
Bulgaria | BG | 0.09895 | 0.18
Czechia | CZ | 0.1818 | 0.18
Denmark | DK | 0.2826 | 0.18
Germany | DE | 0.30245 | 0.18
Estonia | EE | 0.12635 | 0.18
Ireland | IE | 0.25145 | 0.18
Greece | GR | 0.16575 | 0.18
Spain | ES | 0.22685 | 0.18
France | FR | 0.19255 | 0.18
Croatia | HR | 0.1304 | 0.18
Italy | IT | 0.21895 | 0.18
Cyprus | CY | 0.19155 | 0.18
Latvia | LV | 0.1426 | 0.18
Lithuania | LT | 0.13735 | 0.18
Luxembourg | LU | 0.19855 | 0.18
Hungary | HU | 0.102 | 0.18
Malta | MT | 0.12925 | 0.18
Netherlands | NL | 0.1394 | 0.18
Austria | AU | 0.2139 | 0.18
Poland | PL | 0.14925 | 0.18
Portugal | PT | 0.21265 | 0.18
Romania | RO | 0.1454 | 0.18
Slovenia | SI | 0.1571 | 0.18
Slovakia | SK | 0.1705 | 0.18
Finland | FI | 0.17565 | 0.18
Sweden | SE | 0.1772 | 0.18
Iceland | IS | 0.12945 | 0.18
Norway | NO | 0.13385 | 0.18
United Kingdom | GB | 0.2203 | 0.18
Montenegro | ME | 0.09935 | 0.18
North Macedonia | MK | 0.08075 | 0.18
Albania | AL | 0.0921 | 0.18
Serbia | RS | 0.07375 | 0.18
Turkey | TR | 0.09085 | 0.18
Bosnia and Herzegovina | BA | 0.08855 | 0.18
Moldova | MD | 0.10305 | 0.18
Ukraine | UA | 0.0431 | 0.18
Georgia | GE | 0.06155 | 0.18

## internet_users_data
Internet users vs total population by region
https://www.hootsuite.com/pages/digital-trends-2021
pag. 26; data for year 2020
|  | Internet users |  | Unconnected users
Region | Population | % pop. | total | % pop. | total
Northern America | 370000000 | 90% | 333000000 | 10% | 37000000
Central America | 181000000 | 67% | 121270000 | 33% | 59730000
Caribbean | 44000000 | 62% | 27280000 | 38% | 16720000
Southern America | 433000000 | 72% | 311760000 | 28% | 121240000
Western Europe | 196000000 | 93% | 182280000 | 7% | 13720000
Northern Europe | 106000000 | 96% | 101760000 | 4% | 4240000
Southern Europe | 152000000 | 86% | 130720000 | 14% | 21280000
Eastern Europe | 293000000 | 82% | 240260000 | 18% | 52740000
Northern Africa | 248000000 | 56% | 138880000 | 44% | 109120000
Western Africa | 407000000 | 42% | 170940000 | 58% | 236060000
Middle Africa | 182000000 | 26% | 47320000 | 74% | 134680000
Southern Africa | 68000000 | 62% | 42160000 | 38% | 25840000
Eastern Africa | 451000000 | 24% | 108240000 | 76% | 342760000
Central Asia | 75000000 | 57% | 42750000 | 43% | 32250000
Western Asia | 282000000 | 74% | 208680000 | 26% | 73320000
Southern Asia | 1951000000 | 42% | 819420000 | 58% | 1131580000
Eastern Asia | 1680000000 | 64% | 1075200000 | 36% | 604800000
South-Eastern Asia | 672000000 | 69% | 463680000 | 31% | 208320000
Oceania | 43000000 | 72% | 30960000 | 28% | 12040000

## pop_r
Population estimates and projections ¦ DataBank (worldbank.org)
Country Name | Country Code | Series Name | Series Code | 2020 [YR2020] | 2030 [YR2030] | Aggregation | 2020 | 2030
Africa Eastern and Southern | AFE | Population, total | SP.POP.TOTL | 677243299 | 863052000 | North America | 367553264 | 388573000
Africa Western and Central | AFW | Population, total | SP.POP.TOTL | 458803476 | 589662000 | Asia Pacific | 4217737481 | 4484414000
Arab World | ARB | Population, total | SP.POP.TOTL | 436080728 | 519139000 | Europe | 923452178 | 930851000
Caribbean small states | CSS | Population, total | SP.POP.TOTL | 7442291 | 7751000 | Latin America | 652276325 | 704173000
Central Europe and the Baltics | CEB | Population, total | SP.POP.TOTL | 102253057 | 98738000 | Middle East and Africa | 1600600898 | 1992179000
Early-demographic dividend | EAR | Population, total | SP.POP.TOTL | 3332105361 | 3723608000
East Asia & Pacific | EAS | Population, total | SP.POP.TOTL | 2360855079 | 2433438000 | World | 7761620146 | 8500190000
East Asia & Pacific (excluding high income) | EAP | Population, total | SP.POP.TOTL | 2113820753 | 2189075000
East Asia & Pacific (IDA & IBRD countries) | TEA | Population, total | SP.POP.TOTL | 2088015667 | 2162398000
Euro area | EMU | Population, total | SP.POP.TOTL | 342949773 | 340814000
Europe & Central Asia | ECS | Population, total | SP.POP.TOTL | 923452178 | 930851000
Europe & Central Asia (excluding high income) | ECA | Population, total | SP.POP.TOTL | 420211696 | 427283000
Europe & Central Asia (IDA & IBRD countries) | TEC | Population, total | SP.POP.TOTL | 462209698 | 468091000
European Union | EUU | Population, total | SP.POP.TOTL | 447801418 | 443364000
Fragile and conflict affected situations | FCS | Population, total | SP.POP.TOTL | 929989551 | 1173133000
Heavily indebted poor countries (HIPC) | HPC | Population, total | SP.POP.TOTL | 823480038 | 1058784000
High income | HIC | Population, total | SP.POP.TOTL | 1214930230 | 1242819000
IBRD only | IBD | Population, total | SP.POP.TOTL | .. | ..
IDA & IBRD total | IBT | Population, total | SP.POP.TOTL | 6570991956 | 7279093000
IDA blend | IDB | Population, total | SP.POP.TOTL | .. | ..
IDA only | IDX | Population, total | SP.POP.TOTL | .. | ..
IDA total | IDA | Population, total | SP.POP.TOTL | .. | ..
Late-demographic dividend | LTE | Population, total | SP.POP.TOTL | 2316679176 | 2363353000
Latin America & Caribbean | LCN | Population, total | SP.POP.TOTL | 652276325 | 704173000
Latin America & Caribbean (excluding high income) | LAC | Population, total | SP.POP.TOTL | 595242966 | 641478000
Latin America & the Caribbean (IDA & IBRD countries) | TLA | Population, total | SP.POP.TOTL | 636492840 | 688563000
Least developed countries: UN classification | LDC | Population, total | SP.POP.TOTL | 1057438163 | 1313758000
Low & middle income | LMY | Population, total | SP.POP.TOTL | 6518253973 | 7223745000
Low income | LIC | Population, total | SP.POP.TOTL | 665149035 | 856380000
Lower middle income | LMC | Population, total | SP.POP.TOTL | 3330652547 | 3764365000
Middle East & North Africa | MEA | Population, total | SP.POP.TOTL | 464554123 | 539465000
Middle East & North Africa (excluding high income) | MNA | Population, total | SP.POP.TOTL | 396147843 | 462322000
Middle East & North Africa (IDA & IBRD countries) | TMN | Population, total | SP.POP.TOTL | 391344574 | 456351000
Middle income | MIC | Population, total | SP.POP.TOTL | 5853104938 | 6367365000
North America | NAC | Population, total | SP.POP.TOTL | 367553264 | 388573000
Not classified | INX | Population, total | SP.POP.TOTL | .. | ..
OECD members | OED | Population, total | SP.POP.TOTL | 1370858752 | 1409966000
Other small states | OSS | Population, total | SP.POP.TOTL | 31941374 | 36956000
Pacific island small states | PSS | Population, total | SP.POP.TOTL | 2528958 | 2923000
Post-demographic dividend | PST | Population, total | SP.POP.TOTL | 1115104266 | 1130613000
Pre-demographic dividend | PRE | Population, total | SP.POP.TOTL | 970795671 | 1255612000
Small states | SST | Population, total | SP.POP.TOTL | 41912623 | 47630000
South Asia | SAS | Population, total | SP.POP.TOTL | 1856882402 | 2050976000
South Asia (IDA & IBRD) | TSA | Population, total | SP.POP.TOTL | 1856882402 | 2050976000
Sub-Saharan Africa | SSF | Population, total | SP.POP.TOTL | 1136046775 | 1452714000
Sub-Saharan Africa (excluding high income) | SSA | Population, total | SP.POP.TOTL | 1135948313 | 1452611000
Sub-Saharan Africa (IDA & IBRD countries) | TSS | Population, total | SP.POP.TOTL | 1136046775 | 1452714000
Upper middle income | UMC | Population, total | SP.POP.TOTL | 2522452391 | 2603000000
World | WLD | Population, total | SP.POP.TOTL | 7761620146 | 8500190000
Data from database: Population estimates and projections
Last Updated: 02/17/2022